HAZARDOUS WASTE ACCUMULATION AREA INSPECTION CHECKLIST

⚠ PURPOSE, SCOPE & APPLICABILITY This checklist is designed to assist facility inspectors, EHS personnel, and site supervisors in evaluates the physical siting, structural, and operational compliance of Hazardous Waste Accumulation Areas. Each item must be marked Pass, Fail, or N/A. Document any deficiencies with corrective actions in the Notes Column.

KEY RCRA REGULATORY CITATIONS • 40 CFR Part 260 — Hazardous Waste Management System: General • 40 CFR Part 261 — Identification and Listing of Hazardous Waste • 40 CFR Part 262 — Standards Applicable to Generators of Hazardous Waste (including §262.15 SAA, §262.16 SQG, §262.17 LQG) • 40 CFR Part 264/265 Subpart B — General Facility Standards (Location Standards) • 40 CFR Part 264/265 Subpart C — Preparedness and Prevention (Emergency Infrastructure) • 40 CFR Part 264/265 Subpart D — Contingency Plan and Emergency Procedures • 40 CFR Part 265 Subpart I — Use and Management of Containers (§265.170–177) • 40 CFR Part 268 — Land Disposal Restrictions (LDR Treatment Standards) • 40 CFR Part 270 — EPA Administered Permit Programs: RCRA • 40 CFR Part 279 — Standards for the Management of Used Oil • EPCRA §312 — Tier II Emergency and Hazardous Chemical Inventory Reporting • ANSI Z358.1 — Emergency Eyewash and Shower Equipment Standard • OSHA 29 CFR §1910.37 — Means of Egress (Aisle and Exit Requirements)

SECTION A — INSPECTION INFORMATION

| Facility / Location ______________________________ | Inspection Date: ______________________________ |
| --- | --- |
| Inspector Name: ______________________________ | Inspection Title: ______________________________ |
| Department/Area: ______________________________ | Accumulation Site Type: ______________________________ |

SECTION B — FACILITY SITING & LOCATION REQUIREMENTS

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | not located over or in a Sole Source Aquifer (SSA) recharge zone without approved engineering controls | □ | □ | □ |  |
| □ | meets required setback distances from property boundaries, surface water bodies, and drinking water wells per permit or state regulations | □ | □ | □ |  |
| □ | not co-located with or adjacent to incompatible operations (e.g., open flame, ignition sources) in violation of siting requirements | □ | □ | □ |  |
| □ | location does not create a direct discharge pathway to navigable water, wetland, or storm sewer without approved controls | □ | □ | □ |  |
| □ | located on a surface that is impervious to the waste stored (concrete, sealed asphalt, or equivalent) and free of cracks or gaps | □ | □ | □ |  |

SECTION C — UNIT DESIGN, CONSTRUCTION & SECONDARY CONTAINMENT

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | Has a secondary containment system capable of containing 110% of the largest container volume | □ | □ | □ |  |
| □ | Secondary containment is constructed of materials compatible with the wastes stored; no visible cracks, erosion, or breaches | □ | □ | □ |  |
| □ | Floor surface is sloped to facilitate drainage to collection point; no standing liquid present, any accumulated liquid at collection point is removed and managed as hazardous waste in a prompt manner | □ | □ | □ |  |
| □ | Containment integrity has been assessed and documented within the required inspection interval; no deferred repairs outstanding | □ | □ | □ |  |
| □ | Any penetrations through the containment floor or walls (pipes, conduit, drains) are properly sealed and watertight | □ | □ | □ |  |
| □ | Roof, cover, or overhead protection is present where required to prevent precipitation from overwhelming containment capacity | □ | □ | □ |  |
| □ | dimensions and capacity are consistent with the facility’s waste generation profile and do not exceed accumulation limits without permit authorization | □ | □ | □ |  |

SECTION D — CONTAINER MANAGEMENT & STORAGE STANDARDS

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | All containers are in good condition — no bulging, swelling, dents, corrosion, or visible damage that could compromise structural integrity | □ | □ | □ |  |
| □ | All containers are closed (bungs tightened, lids secured) except when waste is actively being added or removed | □ | □ | □ |  |
| □ | Hazardous waste is stored in appropriate containers, no incompatible mixing and Containers holding incompatible wastes are physically separated by a minimum of 8 inches or a physical barrier | □ | □ | □ |  |
| □ | Containers are positioned to allow visual inspection of all sides during routine inspections (not blocked by walls, equipment, or other containers) | □ | □ | □ |  |
| □ | Containers are handled and moved using equipment that prevents drops, impacts, or spills; handling procedures are documented | □ | □ | □ |  |
| □ | Satellite Accumulation Area (SAA) containers, if applicable, are at or near point of generation and quantity does not exceed 55 gallons (or 1 quart acutely hazardous) | □ | □ | □ |  |
| □ | Empty containers are triple-rinsed or certified empty before disposal or recycling | □ | □ | □ |  |

SECTION E — LABELING, MARKING & SIGNAGE

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | Each container bears the words “HAZARDOUS WASTE” clearly and legibly marked on the outside of the container | □ | □ | □ |  |
| □ | Container labels include accumulation start date (date waste first placed in container); date is current and not exceeded for generator category | □ | □ | □ |  |
| □ | Container labels identify the hazardous waste contents by proper waste name, RCRA codes (D/F/K/P/U codes), and hazard class | □ | □ | □ |  |
| □ | entrance is posted with a sign reading “DANGER — HAZARDOUS WASTE — UNAUTHORIZED PERSONNEL KEEP OUT” or equivalent per state regulations | □ | □ | □ |  |
| □ | No labels are faded, defaced, obscured, or missing; replacement labels are applied immediately when damage is identified | □ | □ | □ |  |

SECTION F — ACCESS CONTROLS & SECURITY

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | physically secured to prevent unauthorized access (locked fence, locked building, locked roll-up door, or equivalent) | □ | □ | □ |  |
| □ | restricted to authorized and RCRA-trained personnel only; access log is maintained | □ | □ | □ |  |
| □ | Perimeter barriers are in good repair; no gaps, breaches, or damaged sections observed | □ | □ | □ |  |
| □ | Locks and access control hardware are functional and routinely inspected; defects are repaired promptly | □ | □ | □ |  |
| □ | Visitor and contractor access policy is documented and enforced; escort procedures are followed for non-authorized personnel | □ | □ | □ |  |

SECTION G — INSPECTION PROTOCOL & RECORDKEEPING

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | Written inspection schedule is available that identifies areas to be inspected, inspection frequency, and inspection procedures | □ | □ | □ |  |
| □ | Completed inspection logs are maintained for a minimum of 3 years from the date of inspection; records are legible and organized | □ | □ | □ |  |
| □ | All deficiencies noted during previous inspections have been remedied within the required timeframe; documented corrective actions on file | □ | □ | □ |  |
| □ | Inspection logs capture inspector name, date, time, condition observed, and any corrective action taken or required | □ | □ | □ |  |
| □ | Biennial (or annual) hazardous waste report submitted to EPA/state; copy on file at facility for 3 years, including exception reports. | □ | □ | □ |  |
| □ | Waste analysis plan (WAP) or waste profile records are current and support proper waste characterization and management decisions | □ | □ | □ |  |

SECTION H — EMERGENCY PREPAREDNESS INFRASTRUCTURE

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | Emergency coordinator designation is current; name and 24-hour contact number are posted and included in the Contingency Plan | □ | □ | □ |  |
| □ | Contingency Plan or Emergency Procedures is current, site-specific, and accessible to all personnel | □ | □ | □ |  |
| □ | Communication equipment capable of summoning emergency assistance is immediately available | □ | □ | □ |  |
| □ | Fire suppression equipment appropriate for the waste types stored is accessible, charged, and current on inspection/service | □ | □ | □ |  |
| □ | Spill control equipment is staged at or adjacent to the location and is adequate for the volumes stored | □ | □ | □ |  |
| □ | Emergency eyewash station and/or safety shower is accessible within 10 seconds | □ | □ | □ |  |
| □ | Aisle space allows unobstructed emergency access to containers, equipment, and exits (minimum 30 inches recommended) | □ | □ | □ |  |
| □ | Emergency exit routes are clearly marked, unobstructed, and lead to a safe muster area away from the location | □ | □ | □ |  |

SECTION I — PERSONNEL TRAINING & COMPETENCY

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | All personnel who manage hazardous waste have completed RCRA hazardous waste management training appropriate to their job duties | □ | □ | □ |  |
| □ | Training records include job title, training type, dates, and instructor or course provider; records retained 3 years after departure of employee | □ | □ | □ |  |
| □ | Personnel can demonstrate knowledge of emergency response procedures, spill response, and proper waste handling | □ | □ | □ |  |
| □ | Training programs are reviewed and updated annually or when new waste streams, equipment, or regulatory requirements are introduced | □ | □ | □ |  |

SECTION J — WASTE MANAGEMENT & DISPOSAL COMPLIANCE

| Chk | Inspection Item | Pass | Fail | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| □ | Accumulation time limits are strictly observed: LQG ≤90 days, SQG ≤180 days (or 270 days if ≥50 miles from nearest TSDF), VSQG no time limit with proper management | □ | □ | □ |  |
| □ | No mixing of hazardous and non-hazardous waste without proper characterization; no dilution to avoid hazardous characterization (RCRA Dilution Prohibition) | □ | □ | □ |  |
| □ | Used oil managed as hazardous waste is separated and managed | □ | □ | □ |  |
| □ | Waste minimization efforts are documented in the facility’s Biennial Report and/or annual report; waste reduction goals are tracked | □ | □ | □ |  |
| □ | Recyclable materials managed under RCRA exemptions (scrap metal, spent solvents) are documented and exemption basis is on file | □ | □ | □ |  |

SECTION K — INSPECTION SUMMARY & SIGN-OFF

| Total Items ______ | Items Passed ______ | Items Failed ______ | N/A Items ______ | Overall Rating ______ |
| --- | --- | --- | --- | --- |

Summary of Deficiencies & Required Corrective Actions (attach additional sheets if needed):

| Inspector Signature: X ______________________________________ Printed Name / Date: ____________________________ | Facility EHS Manager / Reviewer Signature: X ______________________________________ Printed Name / Date: ____________________________ |
| --- | --- |