# Annual Wastewater Discharge Inspection Checklist

Inspection Frequency: Annual

Facility Name: _____________________________________________

Inspection Date: _____________________________________________

Inspector Name: _____________________________________________

| # | Item | Yes | No | N/A | Notes |
| --- | --- | --- | --- | --- | --- |
| 1 | No chemicals discharged to sinks without authorization. | ☐ | ☐ | ☐ |  |
| 2 | Laboratory drains used only for approved discharges. | ☐ | ☐ | ☐ |  |
| 3 | Neutralization systems functioning properly (if installed). | ☐ | ☐ | ☐ |  |
| 4 | Acid waste systems inspected. | ☐ | ☐ | ☐ |  |
| 5 | Mercury-containing devices not discharged. | ☐ | ☐ | ☐ |  |
| 6 | No disposal of solvents into sinks. | ☐ | ☐ | ☐ |  |
| 7 | No disposal of hazardous waste into sanitary sewer. | ☐ | ☐ | ☐ |  |
| 8 | Grease traps inspected (food service). | ☐ | ☐ | ☐ |  |
| 9 | pH controls operating properly. | ☐ | ☐ | ☐ |  |
| 10 | Floor drains identified and properly managed. | ☐ | ☐ | ☐ |  |
| 11 | Backflow prevention devices inspected. | ☐ | ☐ | ☐ |  |
| 12 | Wastewater treatment equipment maintained. | ☐ | ☐ | ☐ |  |
| 13 | Pretreatment systems inspected. | ☐ | ☐ | ☐ |  |
| 14 | Required discharge records maintained. | ☐ | ☐ | ☐ |  |

Deficiencies Identified / Corrective Actions Needed:

Inspector Signature: ___________________________________     Date: _______________